SUPPLEMENTAL INFORMATION

Proximity of Informal Worker Housing to Industrial Zones in Hanoi, Vietnam: Associated Environmental Health Risks in Air and Drinking Water

Nicole M. DeLuca,1* Riley E. Mulhern,2 Mai Thi Nguyen,3 Tho Tran,4 Andrea McWilliams,1 Frank Weber,1 Keith Levine,1Laura Allen Gates1, Jennifer Hoponick Redmon1*

1 – RTI International, Research Triangle Park, NC, USA

2 – University of Colorado Boulder, CO, USA

3– University of California at San Diego, San Diego, CA, USA

4 – Hampton Roads Planning District Commission, Chesapeake, VA, USA

*Corresponding authors: Nicole DeLuca and (ndeluca@rti.org) and Jennifer Hoponick Redmon (jredmon@rti.org)

Table S1. Limit of detection (LOD) and estimated limit of quantification (ELOQ) for analytes measured in water samples.

| Analyte | LOD | ELOQ |
| --- | --- | --- |
| As | 0.001880 | 0.0250 |
| Ba | 0.002060 | 0.0250 |
| Be | 0.001660 | 0.0250 |
| Cd | 0.000607 | 0.0250 |
| Co | 0.000264 | 0.0250 |
| Cs | 0.000235 | 0.0250 |
| Cu | 0.003190 | 0.0250 |
| Mn | 0.002920 | 0.0250 |
| Mo | 0.005560 | 0.0250 |
| Ni | 0.001670 | 0.0250 |
| Pb | 0.000301 | 0.0250 |
| Pt | 0.000442 | 0.0250 |
| Sb | 0.000875 | 0.0250 |
| Se | 0.015000 | 0.2500 |
| Sn | 0.011900 | 0.0500 |
| Sr | 0.000993 | 0.0250 |
| Tl | 0.030300 | 0.0250 |
| U | 0.000163 | 0.0250 |
| V | 0.059600 | 0.0250 |
| W | 0.036300 | 0.0250 |
| Zn | 0.013200 | 0.1000 |

Table S2. Drinking water guidelines, standards, or recommendations for contaminants measured in this study.

| Contaminant | WHO1 | Vietnam2 | U.S. EPA MCL3 | U.S. EPA SMCL4 | AAP5 |
| --- | --- | --- | --- | --- | --- |
| As | 10a | 10 | 10 |  |  |
| Ba | 1300 | 1300 | 2000 |  |  |
| Be | 12b |  | 4 |  |  |
| Cd | 3 | 3 | 5 |  |  |
| Co |  |  |  |  |  |
| Cs |  |  |  |  |  |
| Cu | 2000 | 1000 | 1300e | 1000 |  |
| Mn | 80c | 100 |  | 50 |  |
| Mo | b |  |  |  |  |
| Ni | 70 | 70 |  |  |  |
| Pb | 10a | 10 | 10e |  | 1 |
| Pt |  |  |  |  |  |
| Sb | 20 | 20 | 6 |  |  |
| Se | 40c | 40 | 50 |  |  |
| Sn | d |  |  |  |  |
| Sr |  |  |  |  |  |
| Tl |  |  | 2 |  |  |
| U | 30c |  | 30 |  |  |
| V |  |  |  |  |  |
| W |  |  |  |  |  |
| Zn | d | 2000 |  | 5000 |  |

1World Health Organization’s (WHO) Guidelines for Drinking-Water Quality; Fourth Edition Incorporating the First and Second Addenda (2022).

2Vietnam Ministry of Health’s National Technical Regulation on Domestic Water Quality (2024).

3U.S. Environmental Protection Agency’s (EPA) National Primary Drinking Water Regulations; Maximum Contaminant Level (MCL) (2024).

4U.S. Environmental Protection Agency’s (EPA) National Secondary Drinking Water Regulations; Secondary Maximum Contaminant Level (SMCL) (2020).

5American Academy of Pediatrics’ Prevention of Childhood Lead Toxicity (2016).

aProvisional guideline value; calculated guideline value below achievable quantification level, below achievable level through practical intervention methods.

bNo guideline established; health-based value.

cProvisional guideline value; uncertainties in or lack of health data.

dNo guideline established; no health concern at levels found in drinking water.

eNo MCL established; enforceable treatment technique to control corrosiveness of water if 10% of samples exceed this action level.

Figure S1. Zoomed in maps of industrial zones (orange) A) Bac Thang Long, B) Noi Bai, C) Quang Minh, and D) Thach That surrounding Hanoi, Vietnam with drinking water sampling (blue squares), ambient air sampling (red pin), and previously surveyed household (grey circles) locations.

Figure S2. Comparison of 24-hour PM2.5 data between the two channels in the PurpleAir devices for all four industrial zones, including Pearson correlation coefficient (r) and p-value.

Figure S3. Comparison of lead concentrations in household water sources in industrial zones versus the non-industrial neighborhood of Hanoi. Colors indicate whether the result was above or below WHO, Vietnamese, and/or EPA drinking water standards.

Figure S4. Comparison of manganese concentrations in household water sources in industrial zones and Hanoi. Colors indicate whether the result was above or below WHO, Vietnamese, and/or EPA drinking water standards.

Figure S5A. Photos of the air monitor placed within the Thach That Industrial Zone in Vietnam.

Figure S5B. Photos of the air monitor placed within the Quang Minh Industrial Zone in Vietnam.

Figure S5C. Photos of the air monitor placed within the Noi Bai Industrial Zone in Vietnam.

Figure S5D. Photos of the air monitor placed within the Bac Thang Long Industrial Zone in Vietnam.